${legalname}
WHSFOR - 305

ELECTRICAL TESTING & TAGGING REGISTER
	Test and Tag conducted by : (insert company or individual details)


	Electrical Item
	Frequency (recommended please refer to AS/NZS 3760)

	Portable tools and leads (construction areas)
	3 months

	Portable tools and leads (factories, workshops 
	6 months

	Portable tools and leads (non-hostile)
	12 months

	Fixed equipment 
	5 years

	RCD’s – portable
	3 months 

	RCD’s – fixed 
	12 months


	Equipment Description
	Serial #
	Location
	Date of Test
	Result
	Action
	Certificate #
	Initial
	Next Due

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	Equipment Description
	Serial #
	Location
	Date of Test
	Result
	Action
	Certificate #
	Initial
	Next Due

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	


Electrical Testing & Tagging V2.0
This document forms part of the SMARTKIT

Issue Date ${date}
Page 2 of 2
Review Date ${review}


