CONFINED SPACE RISK ASSESSMENT

PART A:  The work to be undertaken:

Provide descriptor:

PART B:  The range of possible work methods which could be used (Delete what is not applicable or provide details of methodology to be applied):

| Method A: | Perform the work from outside the confined space |
| --- | --- |
| Method B : | Access the confined space to perform the work using forced mechanical ventilation, taking care not to recirculate exhaust gases. Employ continuous gas monitoring |
| Method C : | Access the confined space to perform the work using supplied air respiratory devices. Employ continuous gas monitoring. |
| Method D: | Provide details of methodology: |

PART C: The hazards present must be risk-rated as per the attached Risk Management Matrix:

| # | CHEMICAL AGENTS | Risk Rating |
| --- | --- | --- |
| 1 | Harmful levels of hydrogen sulphide from disturbing sediments |  |
| 2 | Risk of combustible gases or vapours from the decomposition of organic material or infiltration of flammable materials through broken sections of pipes |  |
| 3 | Potentially explosive dust |  |
| 4 | Oxygen deficiency or excess |  |
| 5 | Introduction of chemicals during occupancy |  |
| 6 | Contaminants in the atmosphere are below the relevant exposure standard |  |
| 7 | Contaminants introduced through any work processes controlled, e.g. welding |  |
| 8 | Steps have been taken to control any risk associated with the presence of any vermin |  |
|  | PHYSICAL AGENTS |  |
| 9 | Prevention of flooding from failure of the outlet pipe and associated structures |  |
| 10 | Confined space is free from extremes of temperature |  |
| 11 | Noise controlled |  |
| 12 | All potentially hazardous services are positively isolated in order to prevent the activation or energising of any equipment or service that may pose a risk to the health and safety of a person in the confined space |  |
| 13 | Soundness and security of overall structure |  |
| 14 | Adequate lighting and visibility |  |

PART D: Details of control methods to be used for the particular work, e.g. method A, B, C or D.

The following specific details are also to be noted and observed if deemed necessary:

| # | Method | Tick as required |
| --- | --- | --- |
| 1 | Entry permit |  |
| 2 | Forced mechanical ventilation provided through the confined space at the appropriate flow per second |  |
| 3 | Continuous gas monitoring of conditions |  |
| 4 | Ventilation, supplied respiratory devices are supplied and worn during the work process |  |
| 5 | Personal Protective Equipment |  |
| 6 | Isolation of hazardous services e.g. gasses, electrical, mechanical. Liquid, solids |  |
| 7 | Signs and barricades |  |
| 8 | Safe Work Method Statements |  |
| 9 | Other specialist tools and equipment |  |
| 10 | Training |  |

PART E:  Procedures for emergency and rescue:

| # | Procedure | Tick as required |
| --- | --- | --- |
| 1 | Mechanical lifting device (e.g. tripod) and safety harness used for access |  |
| 2 | Other appropriate PPE |  |
| 3 | Oxygen self-rescuers carried |  |
| 4 | Communication available to standby person and emergency services either by radio or telephone |  |
| 5 | Standby and competent persons fully trained in rescue procedures and first -aid |  |

PART F: Authorisation

| Authorisation (must be completed) |  |  |  |
| --- | --- | --- | --- |
| (a) The Confined Space Risk assessment determines hazard and risk controls required for the above-mentioned task to be implemented and incorporated in the permit to work system. |  |  |  |
| Competent Person |  |  |  |
| Workers Consulted |  |  |  |
|  | Date: | Time: |  |

Risk Management

Examples of risk definition and classification (adapted from AS/NZS 4360: 1999 Risk Management)

Table 1: Qualitative measures of consequence or impact

| Level | Descriptor | Example detail description |
| --- | --- | --- |
| 1 | Insignificant | No injuries, low financial loss |
| 2 | Minor | First aid treatment, on-site release immediately contained, medium financial loss |
| 3 | Moderate | Medical treatment required, on-site release contained with outside assistance, high financial loss |
| 4 | Major | Extensive injuries, loss of production capabilities, off-site release with no detrimental effects, major financial loss |
| 5 | Catastrophic | Death, toxic release off-site with detrimental effect, huge financial loss |

Table 2: Qualitative measures of likelihood

| Level | Descriptor | Description |
| --- | --- | --- |
| A | Almost certain | Is expected to occur in most circumstances |
| B | Likely | Will probably occur in most circumstances |
| C | Possible | Might occur at some time |
| D | Unlikely | Could occur at some time |
| E | Rare | May only occur in exceptional circumstances |

Table 3: Qualitative risk analysis – level of risk

| Likelihood | Consequences |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Insignificant 1 | Minor 2 | Moderate 3 | Major 4 | Catastrophic 5 |
| A (almost certain) | M | H | H | E | E |
| B (likely) | M | M | H | H | E |
| C (possible) | L | M | M | H | E |
| D (unlikely) | L | L | M | H | H |
| E (rare) | L | L | M | M | H |

Legend

E: extreme risk, immediate action required		                   H: High risk, senior management attention needed

M: Moderate risk, management responsibility must be specified	   L: low risk, manage by routine procedures