PREPARATION OF SAFE WORK METHOD STATEMENTS

Introduction

The purpose of this document is to outline how to develop and write a Safe Work Method Statement (SWMS). A SWMS is used to understand the requirements that have been established to carry out high risk work in a safe and healthy manner. These SWMS will outline a safe method of work and help meet legal/contractual compliance which can be used on or off site.

Scope

The procedure applies to all activities undertaken by ${legalname} that have a high/medium risk and a SWMS must be developed prior to the activity beginning or continuing.  Where a known risk exists, or a near miss or medical treatment injury and/or damage have actually occurred, a specific risk assessment is to be conducted to determine the need for a SWMS. SWMS must be conducted prior to any high-risk construction work commencing.

Definitions

Safe Work Method Statement is a document which sets out the work activities in logical steps and identifies hazards and describes control measures in planning a job activity to complete it in a safe manner.  Other organisations may call this process a Job Safety Analysis (JSA).

Roles and Responsibilities

Managers/Supervisors are responsible for:

- Ensuring that Safe Work Methods Statements (SWMS) are developed and maintained for the required activities to be undertaken where there is a high/medium risk of injury

- Ensuring that the developed Safe Work Method Statements (SWMS) are written, approved, followed and that instruction in the SWMS is undertaken by staff prior to the implementation of the SWMS.

- Involving Workers in the development of SWMS

- That SWMS are accessible to workers at all time and records are maintained

Workers are responsible for:

- Not placing themselves or others at risk of injury by complying with SWMS

- Contribute to the development of SWMS

Procedure

The purpose of a Safe Work Method Statements is to:

- to outline a safe method of work for a specific job

- to provide an induction document that workers must read and understand before starting a job

- to meet legal requirements, that is, hazard identification and control

- to program work, materials, time, staff, and to anticipate possible risks and hazards

- provide evidence in auditing and inspection

- satisfy contractual requirements of any principal PCBU/contractor

Who should be involved:

- Workers developing SWMS must understand risk assessment and risk control hierarchy and have a good understanding of the activity for which SWMS is being developed.

- Managers /supervisors and workers should be actively involved in developing SWMS

How to write a safe work method statement:

| Step 1 | Describe the project or job that is to be done. Provide a brief summary of the work. |
| --- | --- |
| Step 2 | List the qualifications, certificates and licenses required to perform the job |
| Step 3 | Outline the details of any specific duties or tasks that are to be done by a supervisor or worker |
| Step 4 | List any specific training required or necessary to complete the task. |
| Step 5 | List any relevant acts, regulations, codes of practices or standards that need to be complied with. |
| Step 6 | List any plant, equipment and tools required to complete the job. |
| Step 7 | List all the personal protective equipment to be worn by workers ie, hard hat, gloves, eye protection, hearing protection, broad brim hat, high visibility vests and boots. |
| Step 8 | List specific procedures that need to be in place should an emergency occur. Include environment management. |
| Step 9 | Write out the job procedure step by step. - Ensure it follows a logical sequence - Start each step with an action word - Make it clear and easy to read. - Avoid use of jargon and abbreviations - Bold important information |
| Step 10 | List the hazards associated with each step. |
| Step 11 | List the control measure(s) that are required to be in place |

When completing a SWMS for high risk construction work ensure the appropriate statement is included identifying the activity as “high risk construction work”

Training

Workers and supervisors developing SWMS must understand risk assessment and risk control hierarchy and have a good understanding of the activity for which SWMS is being developed.

References

SA WHS Act 2012

SA WHS regulations 2012

Forms

WHSFOR-201- SWMS

Authority

Signature:

Authorised by: ${officer}              Title: ${role}

Date: ${date}