WORKSITE INSPECTION – Building/Construction

| Workplace: |  | Location: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

| Inspection Items | Circle appropriate response | Opportunity for Improvement | Person Responsible for Action | Action Taken | Sign off Completed |
| --- | --- | --- | --- | --- | --- |
| Electrical Safety |  |  |  |  |  |
| Are construction site switchboards properly constructed and set up | Yes / No / NA |  |  |  |  |
| Are RCD’s fitted? | Yes / No / NA |  |  |  |  |
| Is construction wiring identified and protected from mechanical damage? | Yes / No / NA |  |  |  |  |
| Are flexible extension leads being used safely? | Yes / No / NA |  |  |  |  |
| Is the correct type of socket outlets being used? | Yes / No / NA |  |  |  |  |
| Are portable outlet devices suitable? | Yes / No / NA |  |  |  |  |
| Are electrical tools and flexible extension leads in a safe condition? | Yes / No / NA |  |  |  |  |
| Has the portable electrical equipment been tested and tagged? | Yes / No / NA |  |  |  |  |
| Have you kept records relating to your electrical equipment? | Yes / No / NA |  |  |  |  |
| Are portable generators suitable? | Yes / No / NA |  |  |  |  |
| Are portable lights being used safely? | Yes / No / NA |  |  |  |  |
| Are plant and temporary structures a safe distance from overhead power lines? | Yes / No / NA |  |  |  |  |
| Emergency |  |  |  |  |  |
| Are fire extinguishers in place & signed? | Yes / No / NA |  |  |  |  |
| Are fire extinguishers within service dates? | Yes / No / NA |  |  |  |  |
| Are exit signs in place? | Yes / No / NA |  |  |  |  |
| Are exits clear of obstructions? | Yes / No / NA |  |  |  |  |
| Does fire equipment appear to be in good condition? | Yes / No / NA |  |  |  |  |
| Assembly points identified | Yes / No / NA |  |  |  |  |
| Walkways, Stairs and Landings |  |  |  |  |  |
| Do floors have even undamaged surfaces? | Yes / No / NA |  |  |  |  |
| Are walkways/aisles kept clear and clearly marked? | Yes / No / NA |  |  |  |  |
| Are stairs kept clear and in good condition? | Yes / No / NA |  |  |  |  |
| Are handrails in place, where required? | Yes / No / NA |  |  |  |  |
| No damaged treads or rails? | Yes / No / NA |  |  |  |  |
| Landings clear | Yes / No / NA |  |  |  |  |
| Lighting |  |  |  |  |  |
| Is lighting adequate for walkways/aisles? | Yes / No / NA |  |  |  |  |
| Portable lighting provided? | Yes / No / NA |  |  |  |  |
| Is emergency lighting operable? | Yes / No / NA |  |  |  |  |
| Chemicals (Hazardous/Dangerous Substances) |  |  |  |  |  |
| Is there access to SDS for all chemical products used? | Yes / No / NA |  |  |  |  |
| Are chemical containers clearly labelled? | Yes / No / NA |  |  |  |  |
| Is there a hazardous chemicals register? | Yes / No / NA |  |  |  |  |
| Have risk assessments been completed for hazardous substances? | Yes / No / NA |  |  |  |  |
| First Aid |  |  |  |  |  |
| Is there a first aid kit/cabinet available and accessible? | Yes / No / NA |  |  |  |  |
| Are workers aware of location of first aid kit? | Yes / No / NA |  |  |  |  |
| Are adequate stocks available? | Yes / No / NA |  |  |  |  |
| Are first aid records kept? | Yes / No / NA |  |  |  |  |
| Is there a list of first aiders and emergency contact numbers displayed? | Yes / No / NA |  |  |  |  |
| General Housekeeping Work Areas |  |  |  |  |  |
| Are work areas clear of rubbish? | Yes / No / NA |  |  |  |  |
| Are bins full and overflowing? | Yes / No / NA |  |  |  |  |
| Is there evidence of general clutter? | Yes / No / NA |  |  |  |  |
| Cords/ Hoses etc minimised | Yes / No / NA |  |  |  |  |
| Storage |  |  |  |  |  |
| Are materials stored so they will not fall? | Yes / No / NA |  |  |  |  |
| Are materials stored so that good manual handling practices can be applied, therefore safe retrieval? | Yes / No / NA |  |  |  |  |
| Are storage racks in sound condition, not overloaded? | Yes / No / NA |  |  |  |  |
| Are storages free from projections, sharp edges? | Yes / No / NA |  |  |  |  |
| Overhead storage able to carry load | Yes / No / NA |  |  |  |  |
| Plant, Tools and Equipment |  |  |  |  |  |
| Power saws, grinders and other power tools must have proper guards in place at all times. | Yes / No / NA |  |  |  |  |
| Tools protected an ELCB unit. | Yes / No / NA |  |  |  |  |
| Cords and hoses are not placed so as not to create a tripping hazard or be subjected to damage from equipment or materials. | Yes / No / NA |  |  |  |  |
| Compressed airlines and tools, all hose connections are fastened securely. | Yes / No / NA |  |  |  |  |
| All adjustable props have the correct roper pins (hardened steel) | Yes / No / NA |  |  |  |  |
| Cranes |  |  |  |  |  |
| Only authorised certificated operators will be permitted to operate cranes. | Yes / No / NA |  |  |  |  |
| Crane Doggers are to direct crane operators only | Yes / No / NA |  |  |  |  |
| No riding the load was observed | Yes / No / NA |  |  |  |  |
| Loads are correctly slung. | Yes / No / NA |  |  |  |  |
| No persons observed standing under loads. | Yes / No / NA |  |  |  |  |
| Clearance of electrical power lines when setting up or operating | Yes / No / NA |  |  |  |  |
| Chains/Slings Tested, Tagged & Inspected Daily | Yes / No / NA |  |  |  |  |
| Cranes/Hoists /Chain Blocks etc Inspected, tested | Yes / No / NA |  |  |  |  |
| Rubber feet are fitted to ladders and in good condition | Yes / No / NA |  |  |  |  |
| Explosive Power Tools |  |  |  |  |  |
| Trained persons are only allowed to use explosive-powered tools. | Yes / No / NA |  |  |  |  |
| Safety glasses and hearing protection are worn by staff | Yes / No / NA |  |  |  |  |
| Signs are in place where the operation of this equipment is being conducted | Yes / No / NA |  |  |  |  |
| Tools are not left in a loaded condition. | Yes / No / NA |  |  |  |  |
| All explosive-powered tools are inspected and maintained on a regular basis. | Yes / No / NA |  |  |  |  |
| Manual Handling |  |  |  |  |  |
| Lifting equipment/Mechanical aids available | Yes / No / NA |  |  |  |  |
| Training has been conducted | Yes / No / NA |  |  |  |  |
| Excavations |  |  |  |  |  |
| Excavations of all types have barricading and hand railing of substantial materials | Yes / No / NA |  |  |  |  |
| Excavations or trenches exceeding 1.5 metres should have shoring to walls and faces | Yes / No / NA |  |  |  |  |
| Ladder access provided to and from all excavations and trenches. | Yes / No / NA |  |  |  |  |
| Engineer’s report is available. | Yes / No / NA |  |  |  |  |
| Daily site inspections and records are conducted and maintained | Yes / No / NA |  |  |  |  |
| No workers observed working alone | Yes / No / NA |  |  |  |  |
| Ground support required | Yes / No / NA |  |  |  |  |
| The trench and excavation walls are not undercut. | Yes / No / NA |  |  |  |  |
| Supports are not overstressed. | Yes / No / NA |  |  |  |  |
| The ground is not fretting or beginning to collapse. | Yes / No / NA |  |  |  |  |
| Tension cracks do not appear along the trench or excavation surface | Yes / No / NA |  |  |  |  |
| The trench or excavation walls do not sag under the increased pressure from plant or equipment | Yes / No / NA |  |  |  |  |
| Personal Protective Equipment |  |  |  |  |  |
| Goggles/Glasses provide to staff | Yes / No / NA |  |  |  |  |
| Correct Hearing protection provided | Yes / No / NA |  |  |  |  |
| Safety Headwear (hard hats/neck protective attachments) | Yes / No / NA |  |  |  |  |
| High Visibility Vest/Clothing | Yes / No / NA |  |  |  |  |
| Footwear | Yes / No / NA |  |  |  |  |
| Sunscreen (30+) | Yes / No / NA |  |  |  |  |
| Signage erected where required | Yes / No / NA |  |  |  |  |
| Working at heights |  |  |  |  |  |
| Fall arrest/Safety Harness | Yes / No / NA |  |  |  |  |
| Inertia reel systems | Yes / No / NA |  |  |  |  |
| Vertical lifelines | Yes / No / NA |  |  |  |  |
| Lanyards | Yes / No / NA |  |  |  |  |
| Anchorage points in place for safety lines | Yes / No / NA |  |  |  |  |
| Provision of safe mesh | Yes / No / NA |  |  |  |  |
| Guard railing | Yes / No / NA |  |  |  |  |
| Safety Screening/Edge Protection in place | Yes / No / NA |  |  |  |  |
| All workers competency based trained | Yes / No / NA |  |  |  |  |
| Perimeter scaffolding required | Yes / No / NA |  |  |  |  |
| Openings and penetrations in ground and floors have guarding railing in place | Yes / No / NA |  |  |  |  |
| Elevated Work Platforms | Yes / No / NA |  |  |  |  |
| Scaffolds have kickboards secured in place and guardrails installed. | Yes / No / NA |  |  |  |  |
| Mobile scaffolds are fitted with wheel locks. | Yes / No / NA |  |  |  |  |
| Access by way of an internal ladder is to be provided to ALL scaffolds and work platforms and must be used as such. | Yes / No / NA |  |  |  |  |
| No workers observed climbing of scaffold standards is not permitted. | Yes / No / NA |  |  |  |  |
| Tools and equipment are not | Yes / No / NA |  |  |  |  |
| Welding |  |  |  |  |  |
| Screens available and used | Yes / No / NA |  |  |  |  |
| Personal Protective Equipment Provided i.e.. masks, aprons, gauntlets | Yes / No / NA |  |  |  |  |
| Cylinders secured in trolleys or prevented from falling | Yes / No / NA |  |  |  |  |
| Flashback arrestors are fitted to both front and back ends | Yes / No / NA |  |  |  |  |
| Public |  |  |  |  |  |
| ###### Have you complied with local government requirements? | Yes / No / NA |  |  |  |  |
| Is the site secure? | Yes / No / NA |  |  |  |  |
| Is traffic movement properly managed? | Yes / No / NA |  |  |  |  |
| Is the public protected from dust and debris? i.e. fencing shielded with shade cloth or similar. | Yes / No / NA |  |  |  |  |
| Is work on public space being properly managed? i.e. barricades erected where scaffolding and gantries or where excavation work is required? | Yes / No / NA |  |  |  |  |
| Welfare Matters |  |  |  |  |  |
| Are toilets clean? | Yes / No / NA |  |  |  |  |
| Are kitchen facilities/lunchrooms clean? | Yes / No / NA |  |  |  |  |
| Is drinking water available? | Yes / No / NA |  |  |  |  |
| Are there washing facilities? | Yes / No / NA |  |  |  |  |

Comments: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Have all actions been communicate to person responsible		Yes/No

Signed:										Signed:

Name:							Date:			Name:							Date: